## LOP
فرم پیشنهاد قیمت تجهیزات و عملیات پروژه باران 3 FTTH (GPON)
شماره آیتم | نوع تـجهیز | کاربری | قیمت تجهیزات |  |  |  | قیمت عملیات |  |  | جمع قیمت (ریال)
|  |  | واحد | تعداد مورد نیاز | قیمت واحد (ریال) | جمع قیمت آیتم (ریال) | حجم عملیات | قیمت واحد نصب و راه اندازی (ریال) | جمع قیمت نصب و راه اندازی (ریال)
1 | بخش پسیو نوری
1.1 | Optical Droop Cable 2 Core SM | for Units | Meter | 0 |  | 0 | 0 |  | 0 | 0
1.2 | Optical Fiber Droop Cable 4 Core SM | for feeder of MDUs | Meter | 3000 |  | 0 | 3000 |  | 0 | 0
1.3 | Optical Fiber ADSS Cable 24 Core SM | for feeder of floor | Meter | 0 |  | 0 | 150 |  | 0 | 0
1.4 | Wall Mount ATB with APC Pigtel and Adapter | for Units | Set | 100 |  | 0 | 93 |  | 0 | 0
1.5 | 1U Optical Rack Mount Path Panel (12Port) with Caset and SC/PC Adapter for Main Connection | for Connection to TCI Netwoork | Set | 0 |  | 0 | 0 |  | 0 | 0
1.6 | 1U Optical Rack Mount Path Panel (16 Port) with Caset and APC Single Core Optical Adapter | for Termination of PON Ports | Set | 1 |  | 0 | 1 |  | 0 | 0
1.7 | 1U Optical Rack Mount Path Panel (24Port)with Caset and APC Single Core Optical Adapter | for indoor Wall Mount Rackes | Set | 1 |  | 0 | 1 |  | 0 | 0
1.8 | CAT 6 Rack Mount Path Panel (8 Port) with Cable Support | for indoor Wall Mount Rackes | Set | 1 |  | 0 | 1 |  | 0 | 0
1.9 | CAT 6 Rack Mount Path Panel (16 Port) with Cable Support | for indoor Wall Mount Rackes | Set | 3 |  | 0 | 3 |  | 0 | 0
1.9 | CAT 6 Rack Mount Path Panel (24 Port) with Cable Support | for indoor Wall Mount Rackes | Set | 38 |  | 0 | 38 |  | 0 | 0
1.10 | CAT 6 Punch Down Keyston Jack | for indoor Wall Mount Rackes | Pics | 0 |  | 0 | 0 |  | 0 | 0
1.11 | Cable Management | for indoor Wall Mount Rackes | Set | 0 |  | 0 | 42 |  | 0 | 0
1.12 | Cat 6 Patch Cord 1 M | for indoor Wall Mount Rackes | Pics | 0 |  | 0 | 395 |  | 0 | 0
1.13 | Cat 6 Patch Cord 2 M | for indoor Wall Mount Rackes | Pics | 405 |  | 0 | 395 |  | 0 | 0
1.14 | Telephony 10Pair NOO Terminal Rack Mount With Holder |  | Set | 6 |  | 0 | 6 |  | 0 | 0
1.15 | Arrester Over Voltage Protection |  | Pics | 80 |  | 0 | 60 |  | 0 | 0
1.16 | Wall Rack Mount 9U , 19",with AC Socket & FAN | for indoor MDU Rackes | Set | 0 |  | 0 | 17 |  | 0 | 0
1.17 | Wall Rack Mount 10U , 19",with AC Socket & FAN | for indoor MDU Rackes | Set | 0 |  | 0 | 0 |  | 0 | 0
1.18 | Wall Rack Mount 12U , 19",with AC Socket & FAN | for indoor MDU Rackes | Set | 0 |  | 0 | 0 |  | 0 | 0
1.19 | FAT 12 Core Indoor with APC Couple Adapter and Caset and Accessoreis |  | set | 0 |  | 0 | 0 |  | 0 | 0
1.20 | FAT 24 Core Indoor with APC Couple Adapter and Caset and Accessoreis |  | Pics | 20 |  | 0 | 18 |  | 0 | 0
1.21 | Optical Splitter 1:2 |  | Pics | 4 |  | 0 | 3 |  | 0 | 0
1.22 | Optical Splitter 1:4 |  | Pics | 3 |  | 0 | 2 |  | 0 | 0
1.23 | Optical Splitter 1:8 |  | Pics | 2 |  | 0 | 1 |  | 0 | 0
1.24 | Optical Splitter 1:16 | for feeder of floor | Pics | 13 |  | 0 | 11 |  | 0 | 0
1.25 | Path Cord 2M FC-SC | for connection of OLT & Combiner | Pics | 0 |  | 0 | 79 |  | 0 | 0
1.26 | Pigtail 2M SC/UPC | for moudules in OCDF & Indoor FATs | Pics | 15 |  | 0 | 15 |  | 0 | 0
1.27 | OCDF 72 Core Indoor | for ITC Room | Set | 0 |  | 0 | 0 |  | 0 | 0
1.28 | Fusion of Optical Connections | In all of project | Pics | 317 |  | 0 | 317 |  | 0 | 0
1.29 | Cat 6 Indoor Cables |  | Meter | 0 |  | 0 | 0 |  | 0 | 0
1.30 | Indoor Telephonei Box 100 Port |  | Set | 6 |  | 0 | 6 |  | 0 | 0
1.31 | Plastic Flaxy Pipe 21 |  | Meter | 15 |  | 0 | 15 |  | 0 | 0
Ground Total Price for ODN Part | [5 empty] | 0 |  |  | 0 | 0
2 | بخش اکتیو نوری
2.1 | OLT Huawei MA 5603-T (with 6 GPFD +80 GPON SFP) |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.2 | OLT Huawei MA 5608-T (with2 GPFD +16 GPON SFP+2 MCUD1 + AC power )) | Mandetory | Unit | 1 |  | 0 | 1 |  | 0 | 0
2.3 | ONT Huawei HG8245C (2Pots+4FE+Wi-Fi) with Pigtail |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.4 | ONT Huawei HG8245H (2Pots+4FE/GE+Wi-Fi) with Pigtail |  | Unit | 100 |  | 0 | 93 |  | 0 | 0
2.5 | ONT Huawei HG8246M (1Pots+4FE+Wi-Fi) with Pigtail |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.6 | ONT Huawei HG8246H (2Pots+4FE+Wi-Fi) with Pigtail |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.7 | MDU Huawei MA5616 with cabeles and accessoreis |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.8 | VDLE 64 Port VDSL Board Splitter Built In | Optional | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.9 | ADLE 64 Port ADSL Board Splitter Built In |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.10 | ASPB 64 Port POTS (with sub cable and Accessory) | Mandetory | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.11 | CCUE Control Board with GPON unterface & 128 Port DSP |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.12 | AC Power Board |  | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.13 | MDU Huawei MA5620 (8 FE+8 Pots) with cabeles and accessoreis | Mandetory For Pots &data User | Unit | 3 |  | 0 | 2 |  | 0 | 0
2.14 | MDU Huawei MA5620 (16 FE+16 Pots) with cabeles and accessoreis | Mandetory For Pots &data User & P-POTS | Unit | 2 |  | 0 | 1 |  | 0 | 0
2.15 | MDU Huawei MA5620 (24 FE+24 Pots) with cabeles and accessoreis | Mandetory For Pots &data User | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.16 | MDU Huawei MA5626 (8 FE) POE Support with cabeles and accessoreis | Mandetory For CCTV | Unit | 0 |  | 0 | 0 |  | 0 | 0
2.17 | MDU Huawei MA5626 (16 FE) POE Support with cabeles and accessoreis | Mandetory For CCTV | Unit | 16 |  | 0 | 15 |  | 0 | 0
2.18 | MDU Huawei MA5626 (24 FE) POE Supportwith cabeles and accessoreis | Mandetory For CCTV | Unit | 29 |  | 0 | 26 |  | 0 | 0
2.19 | U2000 Small Scale for Network Management System for All Huawei Nodes License | for Manage ment Syastem | set | 1 |  | 0 | 1 |  | 0 | 0
2.20 | U2000 NMS Server | for Manage ment Syastem | set | 0 |  | 0 | 0 |  | 0 | 0
2.21 | NMS Client with Monitor and Keyboard and Mouse | for Manage ment Syastem | set | 0 |  | 0 | 0 |  | 0 | 0
2.22 | Aggregation Switch 3750 for Uplink | for aggregation of uplinks | Unit | 3 |  | 0 | 2 |  | 0 | 0
2.24 | Carrier Ethernet with 2.5G Uplink, 4 Port GE, 16 port E1 | for connection to TCI network | Unit | 1 |  | 0 | 1 |  | 0 | 0
2.25 | Rack Mount KVM Switch | for ITC Room | Unit | 1 |  | 0 | 1 |  | 0 | 0
2.26 | Server Rack 42U with AC Socket and Pad Stile | for ITC Room | Set | 0 |  | 0 | 1 |  | 0
Ground Total Price for GPON Active Part
3 | بخش خدمات و سرویس
3.1 | Network Dilate Designing |  | Project | 1 |  | 0 | 1 |  | 0 | 0
3.2 | Commissioning |  | Project | 1 |  | 0 | 1 |  | 0 | 0
3.3 | Project Acceptance Test and Supervision |  | Project | 1 |  | 0 | 1 |  | 0 | 0
3.4 | On Job Training |  | Man/Day | 20 |  | 0 | 20 |  | 0 | 0
3.5 | Project Guaranty |  | 18 Month | 1 |  | 0 | 1 |  | 0 | 0
3.6 | Project Variant |  | 5 Year | 1 |  | 0 | 1 |  | 0 | 0
3.7 | Project Maintenance |  | 6 Month | 1 |  | 0 | 1 |  | 0 | 0
Ground Total Price for all of Parts | [9 empty] | #REF!
اینجانب فرزند به شماره ملی و تلفن ثابت و شماره همراه مدیر عامل شرکت
به شماره ثبت شناسه ملی و آدرس :
تمایل خود را برای شرکت در مناقصه و انجام مورد مناقصه اعلام می دارم . تاریخ : مهر و امضاء :